[Your Company Letterhead]

[Date]

[Recipient Name]

[Recipient Title]

[Recipient Company/Organization]

[Recipient Address]

[City, State, Zip Code]

Dear [Recipient Name],

Subject: Oxygen Tank Replacement Procedure

I hope this letter finds you well. This correspondence outlines the necessary steps to ensure the safe and efficient replacement of oxygen tanks within our facility. Please follow the procedure below:

1. **Preparation**

a. Gather necessary personal protective equipment (PPE).

b. Ensure the replacement tank is available and meets all safety regulations.

2. **Safety Checks**

a. Verify that the work area is clear of obstructions.

b. Conduct a quick inspection of the existing oxygen tank for any leaks or damages.

3. **Tank Removal**

a. Turn off the oxygen flow from the tank.

b. Carefully disconnect the regulator from the empty tank.

c. Securely transport the empty tank to the designated storage area.

4. **Tank Installation**

a. Remove the protective cap from the replacement tank.

b. Connect the regulator to the new tank, ensuring it is tightly sealed.

c. Open the valve slowly and check for any leaks using soapy water.

5. **Final Checks**

a. Confirm that the oxygen flow is functioning properly.

b. Document the replacement in the maintenance log, including tank serial numbers and replacement date.

6. **Training**

a. Ensure all personnel involved in the procedure are adequately trained and familiar with emergency protocols.

Please adhere to this procedure meticulously to maintain a safe working environment. Should you have any questions or require further clarification, do not hesitate to reach out.

Thank you for your attention to this important matter.

Sincerely,

[Your Name]

[Your Title]

[Your Contact Information]

[Your Company/Organization]